## L1-Embedded Device
Device Name | Date of Certification | Model Number | Firmware Version | Tested Protocols | Notes | Software Version
Sensus FlexNet SmartPoint Module in Sensus IconA Gen4 Meter | 2017-04-01 | IconA Gen4 Meter | FlexNet Radio Firmware: 5.7.2.0 Metrology Firmware: 5.2.4.0 | FlexNet | N/A | N/A
Sensus FlexNet SmartPoint Module in Elster A3 Alpha Meter | 2016-11-01 | A3 ALPHA FLXA2C | FlexNet Radio: 2.1.5.1 Metrology: 0.3.0.6 | N/A | N/A | N/A
Sensus FlexNet SmartPoint Module in Landis+Gyr Focus AXR-SD Meter | 2016-06-01 | FOCUS® AXR-SD | FlexNet Radio: 1.2.0.5 Metrology: 0.5.2.1 BootFlasher: 0.0.0.5 | FlexNet | N/A | N/A
Elster A3 Alphameter with Sensus FlexNet SmartPoint module | 2016-02-01 | A3 ALPHA C&I with ZigBee | FlexNet Radio: 3.2.4.7; Metrology 0.4.0.2; Extended FW: 0.0.0.0; BootFlasher: 4.0.0.4; ZigBee Boot: 0.0.0.7; ZigBee 3.0.7.0 | FlexNet | N/A | N/A
FOCUS AXR-SD with Sensus FlexNet Option Board | 2013-01-01 | 560X | FlexNet 1.1.1.6; iCon 0.5.2.1 | FlexNet RF | N/A | N/A
IConA Meter | 2010-10-01 | ISA2 | Meter: 1.3.5.0 / FlexNet: 2.1.0.0 / Extended: 0.2.0.0 / Bootflasher: 0.0.0.4 | FlexNet RF | N/A | N/A
iConAS Electric Meter | 2013-05-01 | ISA2 | Flexnet Radio: 4.3.5.0 / Metrology: 4.2.5.0 / Extended FW: 0.0.0.0 / Bootflasher: 4.0.0.4 | FlexNet RF | N/A | N/A
iConAS Electric Meter | 2013-12-01 | ISA3 | Flexnet Radio: 2.4.0.0 / Metrology: 1.4.0.0 / Extended FW: 0.2.2.0 / Bootflasher: 0.0.0.4 | FlexNet RF | N/A | N/A
iConAS Electric Meter | 2014-02-01 | iSA4 (Gen 4) with ZigBee + Remote Disconnect | Flexnet Radio: 5.5.5.0 / Metrology: 5.0.7.0 / Extended FW: 0.0.0.0 / Bootflasher: 4.0.0.8 / ZigBee Boot: 0.0.0.7 / ZigBee: 3.0.5.0 | FlexNet RF | N/A | N/A
Load Control Module | 2010-10-01 | HANXCVR02 | 1.3 | FlexNet RF | N/A | N/A
Load Control Module | 2013-06-01 | Rev 2.00 Flexnet Radio Board | Flexnet:1.0.1.0; Zigbee: 6.5.1.6; Extended:0.0.0.0; Bootflash:4.0.0.3 | FlexNet RF | N/A | N/A
Load Control Module | 2013-07-01 | Rev 2.00 Flexnet Radio Board | Flexnet:1.0.2.0; Zigbee: 6.5.1.6; Extended:0.0.0.0; Bootflash:4.0.0.3 | FlexNet RF | N/A | N/A
Thermostat | 2010-10-01 | HANXCVR01 | 2.2 | FlexNet RF | N/A | N/A
iConA Meter | 2012-07-01 | ISA3 | Meter: 4.3.0.0, Flexnet: 4.2.4.0, Extended: 0.0.0.0, Bootflasher: 4.0.0.4 | FlexNet RF | N/A | N/A
Sensus FlexNet SmartPoint Module in Landis+Gyr Focus AXR-SD Meter | 2017-02-01 | FOCUS-AXR-SD | N/A | FlexNet | N/A | FlexNet Radio Firmware: 1.3.0.6 Metrology Firmware: 0.5.2.1 BootFlasher: 0.0.0.5
Sensus FlexNet SmartPoint Module in Sensus Stratus Meter | 2017-08-01 | 530X | N/A | N/A | N/A | FlexNet Radio: 5.7.2.0 Metrology: 5.2.4.0

## L1-Hot Based Devices
Device Name | Date of Certification | Model Number | Software Version | Additional Protocols | Notes | Virtualization Platform | Application Version | Operating System
Central Key Store | 2010-10-01 | N/A | V1.0.0 | N/A | N/A
Flex Server | 2010-10-01 | N/A | V1.0.0 | N/A | N/A
FlexNet Data Warehouse | 2010-10-01 | N/A | RNI 2.2 Release 61755 ISO | N/A | N/A
Network Controller | 2010-10-01 | N/A | RNI 2.2 Release 61755 ISO | FlexNet Andorian | N/A
Network Controller | 2010-10-01 | N/A | Linux 2.6.18-128.7.1.el5 x86_64, RNI 2.2 GA release ISO, PostgreSQL 8.3.7 | FlexNet Andorian | N/A
Oracle Server | 2011-02-01 | N/A | Oracle 11gR2 x86 64bit | Application Layer Testing | N/A
PostgreSQL Server | 2010-12-01 | N/A | Linux 2.6.18-128.7.1.el5 x86_64, PostgreSQL 8.3.7 | N/A | N/A
Regional Network Interface - Database Server | 2013-09-01 | N/A | N/A | N/A | N/A | VMware ESXi v5.0 | RNI Database Server v3.1 Service Pack 2, Patch Set 3 | Microsoft Windows 2008 Service Pack 2
Regional Network Interface - DB-Parsers-Stats Server | 2016-02-01 | ST GM51DQ1 | N/A | N/A | N/A | VMware ESXi 5.5.0 | RNI Version 3.3 Patch Set 2 | Microsoft Windows Server Enterprise 2008 R2 SP1
Regional Network Interface - NC and WEB Server | 2016-02-01 | ST CZJWFZ1 | N/A | N/A | N/A | VMware EXSi 5.5.0 | RNI Version 3.3 Patch Set 2 | Redhat Enterprise Linux 5.11
Regional Network Interface - Stats Server | 2013-09-01 | N/A | N/A | N/A | N/A | VMware ESXi v5.0 | RNI Stat Server v3.1 Service Pack 2, Patch Set 3 | Microsoft Windows 2003 Service Pack 2
Regional Network Interface - Web Server | 2013-09-01 | N/A | N/A | N/A | N/A | VMware ESXi v5.0 | RNI Web/Network Controller v3.1 Service Pack 2, Patch Set 3 | Microsoft Windows 2003 Service Pack 2
Stats Server and Parser Server | 2010-10-01 | N/A | RNI 2.2 Release 61755 ISO | N/A | N/A | N/A | N/A | N/A
Virtual RNI Components | 2012-07-01 | N/A | VMware Software: 4.1.0, Build 260247, RNI Release Version: 7.0.2.92920 | FlexNet Andorian, Application Layer Testing | N/A | N/A | N/A | N/A
Virtual RNI Component: Database Server | 2013-06-01 | N/A | VMware OS: ESXi 5.0 RNI Release: V 2.2.4, Service Pack 2 v 2.2.42 | N/A | N/A | N/A | N/A | N/A
Virtual RNI Component: Database Server | 2014-06-01 | ST GM51DQ1 Dell PowerEdge R815 | N/A | N/A | N/A | VMware ESXi 5.5.0 | RNI Version 3.1 Service Pack 3 Patch Set 3; Oracle 11.2.0.3.0 | Redhat Enterprise Linux 5.10
Virtual RNI Component: Network Controller | 2013-06-01 | VMware OS: ESXi 5.0 RNI Release: V 2.2.4, Service Pack 2 | v 2.2.42 | N/A | N/A | N/A | N/A | N/A
Virtual RNI Component: Network controller Server | 2014-06-01 | ST GM51DQ1 Dell PowerEdge R815 | N/A | N/A | N/A | VMware ESXi 5.5.0 | RNI Version 3.1 Service Pack 3 Patch Set 3; PostgreSQL 9.1 | Redhat Enterprise Linux 5.10
Virtual RNI Component: Parsers Server | 2013-06-01 | VMware OS: ESXi 5.0 RNI Release: V 2.2.4, Service Pack 2 | v 2.2.42 | N/A | N/A | N/A | N/A | N/A
Virtual RNI Component: Postgres Server | 2013-06-01 | VMware OS: ESXi 5.0 RNI Release: V 2.2.4, Service Pack 2 | v 9.1 | N/A | N/A | N/A | N/A | N/A
Virtual RNI Component: Stats Server | 2013-06-01 | VMware OS: ESXi 5.0 RNI Release: V 2.2.4, Service Pack 2 | v 2.2.42 | N/A | N/A | N/A | N/A | N/A
Virtual RNI Component: Stat-Parser Server | 2014-07-01 | ST GM51DQ1 Dell PowerEdge R815 | N/A | N/A | N/A | VMware ESXi 5.5.0 | RNI Version 3.1 Service Pack 3 Patch Set 3 | Microsoft Windows Enterprise 2008 R2 SP1
Virtual RNI Component: Web Server | 2014-06-01 | ST GM51DQ1 Dell PowerEdge R815 | N/A | N/A | N/A | VMware ESXi 5.5.0 | RNI Version 3.1 Service Pack 3 Patch Set 3 | Redhat Enterprise Linux 5.10
Virtual RNI Component: Web Server | 2013-06-01 | VMware OS: ESXi 5.0 RNI Release: V 2.2.4, Service Pack 2 | v 2.2.42 | N/A | N/A | N/A | N/A | N/A
Web Server | 2010-12-01 | N/A | Linux 2.6.18-128.7.1.el5 x86_64, Apache Tomcat 5.5.23, Open LDAP 2.3.43-3, PostgreSQL 8.3.7 | N/A | N/A | N/A | N/A | N/A
Network Management System (NMS) Server | 2018-06-01 | Dell Poweredge R820 (Tag ID: ST CZJWFZ1) | N/A | N/A | N/A | N/A | NMS Release 2.1.3 | Redhat Enterprise Linux 6.9
Virtualization Platform: VMWare EXSi 5.5.0
Category: Host-Based Device

## L1-Control Applications
Device Name | Date of Certification | Model Number | Software Version | Additional Protocols | Notes
FAST Application | 2013-06-01 | N/A | V 3.0.3.0 | FlexNet | N/A
FlexNet Utility | 2010-10-01 | N/A | V2.0.021 Beta, DLL: V3.2.40 | FlexNet RF | N/A
FlexNet Utility | 2014-12-01 | N/A | V4.3.0.0 | FlexNet | N/A

## L1-Network Devices
Device Name | Date of Certification | Model Number | Firmware Version | Tested Protocols | Notes | Radio Firmware
FlexNet Base Station | 2016-09-01 | S100 | Build 101030r19.3.2.2 | N/A | N/A | 7.17
M400 Base Station | 2015-03-01 | M400 | 120229r5 | N/A | N/A | N/A
FlexNet Base Station | 2015-12-01 | M400 | Build: 120229r6 Radio Firmware: 2.5 | N/A | N/A | N/A
Tower Gateway Basestation (TGB) | 2010-10-01 | TGB PCS Transceiver SMS 1600-0104-01 RF FW Version 0.5 Tiny TGB Build | 100120r5 | FlexNet RF, FlexNet Andorian | N/A | N/A
Tower Gateway Basestation | 2012-07-01 | 2.6.21-tinytgbb-tc3 | Tinytgb build 101030r8 | FlexNet Andorian, Application Layer Testing | N/A | N/A
Tower Gateway Basestation (FlexNet Basestation) | 2013-06-01 | S100 | Radio Firmware: V 0.7 Build: 101030r13 | N/A | N/A | N/A
FlexNet Base Station | 2013-09-01 | N/A | Radio Firmware: 7.13 Build: 101030r14 | N/A | N/A | N/A